The 6C Survey of Radio Sources - III.

The Zone 48 deg < Dec <68 deg, 05h 25m < RA < 18h 17m

Hales, Masson, Warner and Baldwin (1990)

Documentation for the Computer-Readable Version

N. A. Oliversen

Doc.  No.  NSSDC/WDC-A-R&S 93-25

July 1993

(Revised March 1994)

National Space Science Data Center (NSSDC)/

World Data Center A for Rockets and Satellites (WDC-A-R&S)

National Aeronautics and Space Administration

Goddard Space Flight Center

Greenbelt, Maryland 20771

Abstract

This catalogue contains the third section of the 6C Cambridge survey of

radio sources at 151 MHz. This part of the survey covers the region

from 48 deg to 68 deg in declination and between 5h 25m   and 18h 17m

in right ascension.  This survey has an angular resolution of

4.2 arcmin x 4.2 arcmin x cosec(dec) (half-power at map center).  The

limiting flux density varies between 160 mJy to 600 mJy as a function

of map and declination.  Data include the source positions (B1950),

peak flux density, integrated flux density, contour map panel number and

contour map field names. This part of the survey contains 8749 sources,

covering an area of 1950 square degrees.  This catalogue slightly overlaps

the Hales et al. (1988) survey.

1 - Introduction

A copy of this document should be distributed with every copy of the

machine-readable catalog.

1.1 - Description

"The 6C Survey of Radio Sources - III. The Zone 48 deg < Dec <68 deg,

05h 25m < RA < 18h 17m" (6CSRSIII) contains a compilation of radio

source observations made with the use of an (non- tracking

Earth-rotation aperture synthesis telescope comprising many small

aerial arrays on an east-west baseline operating at 151 MHz. This paper

is the third in a series of papers giving radio source observations at

151 MHz. See the discussion in Baldwin et al. (1985) for details on the

design and operation of the telescope and the generation of the survey.

Other papers in this series include Hales et al. (1988) and Hales et

al.  (1991).

This portion of the catalogue contains a listing of 8749 radio sources

ordered by increasing right ascension.  The survey is centered on a

declination of 58 deg to facilitate calibration using Cassiopea A. This

survey has been divided into six separate fields with up to 32 panels

per field.

Flux densities are on the scale of Roger, Bridle, and Costain (1973)

(RBC). The authors believe the flux density scale is consistent with

the RBC scale to within +/-5%.  Both the peak flux density and the

integrated flux densities required a primary-beam correction, and the

peak flux densities required a further correction for the reduction in

peak brightness caused by chromatic aberration. The latter correction

is dependent on the distance of the source from the field center.  See

6CSRSIII and Hales et al.  (1988) for details on source selection

criterion, calibration, and error analysis.

Source positions have been adjusted by 1.1s to 2.3s in right ascension

and up to -40 arcsec in declination, to agree with known positions of bright

sources.  The authors believe that the residual systematic errors are

less than +/-5 arcsec in each coordinate.

Note that this file only contains the catalogue of radio sources. It is

intended to be used with the radio maps originally published on

microfiche in Hales, Masson, Warner and Baldwin (1990). The source

lists and FITS format maps for the four regions of the 6C  survey

published to date have been placed on a CDROM entitled "Images from the

Radio Universe", which is available from the address below.  A nominal

fee may be charged for such requests.

Prof.  Jim Condon

NRAO

Edgemont Road

Charlottesville, Virginia 22903-2475

1.2 - Reference

Hales, S.E.G., Masson, C.R., Warner, P. J. and Baldwin, J.E. 1990,

MNRAS, 246, 256.

2 - Structure

2.1 - The  File  as  a  Whole

"The 6C Survey of Radio Sources - III. The Zone 48 deg < Dec < 68 deg ,

05h 25m < RA < 18h 17m " consists of a single  fixed-block file of 8749

48-byte records.  The original file  contained 51-byte records.

Detailed descriptions of some of the fields in the file are given in

the following sections.

2.2 - Catalog  File

Bytes     Units     Format     Item

1 - 2     h         I2         Right ascension (B1950)

4 - 5     min       I2         Right ascension (B1950)

7 - 10    s         F4.1       Right ascension (B1950)

12 - 14    deg       I3         Declination (B1950)

16 - 17    arcmin    I2         Declination (B1950)

19 - 20    arcsec    I2         Declination (B1950)

23 - 27    Jy        F5.2       Flux density (peak)

30 - 34    Jy        F5.2       Flux density (integ.)

35                   A1         Integrated flux flag

37 - 39              I3         Contour map panel number

40                   A1         The character ":"

41 - 47              A7         Contour map field name

Table 1:  Catalog Record Format

Flux density (peak):  Source peak flux density at 151 MHz.

Flux density (integrated):  Source integrated flux density at 151 MHz.

Integrated flux densities were carried out for sources with fitted peak

flux densities above 456 mJy per beam area (before primary beam

correction).  The integration was carried out to a limiting level of

10% of the fitted peak (or 98 mJy for sources having fitted peak values

<0.98 Jy).  Note that for unresolved sources the integrated flux value

can fall below the peak value.

Integrated flux flag:  If the column is marked with a dash (-), the

peak flux was not strong enough to calculate the integrated flux.  If

the column is marked with an asterisk (*), the peak flux was strong

enough to qualify for integration, but it has been integrated into a

brighter adjoining peak.

Contour  map  panel  number:  This column contains the name of the map

panel in which the source appears.  There are up to 32 panels per map

field in this survey.  The panel number and map field name tell the

user where to look up the source of interest in the published contour

map.  A panel number listed with a negative sign indicates that the

data are accommodated at the location but come from another map or area

of sky.

Contour  map  field  name:  This  column  contains  the  name  of  the

field  in  which  the  source appears.   Six  fields  have  been

included  in  this  survey:  0700+58,  0900+58,  1100+58,  1300+58,

1500+58, and 1700+58.  The panel number and map field name tell the

user where to look up the source of interest in the published contour

map.

3 - History

3.1 - Remarks  and  Modification

"The 6C Survey of Radio Sources - III. The Zone 48 deg < Dec <68 deg,

05h 25m < RA < 18h 17m" was received by the Astronomical Data Center

(ADC), NASA Goddard Space Flight Center, from Dr. Heinz Andernach.

The catalog was originally submitted by the first author, Dr.

Sally Hales.

The integrated flux flag column was added by the ADC/CDS by extracting

the character information from the Integrated flux density column.

This was done to avoid mixing character and numeric information in the

same column.

4 - Reference  to  the  Documentation

Baldwin, J.E., Boysen, R.C., Hales, S.E.G., Jennings, J.E., Waggett,

P.C., Warner, P.J. and Wilson, D.M.A. 1985, MNRAS, 217, 717

Hales, S.E.G., Baldwin, J.E. and Warner, P.J. 1988, MNRAS, 234, 919

Hales, S.E.G., Masson, C.R., Warner, P.J. and Baldwin, J.E. 1990,

MNRAS, 246, 256

Hales, S.E.G., Mayer, C.J., Warner, P.J. and Baldwin, J.E. 1991, MNRAS,

251, 46

Roger, R.S., Bridle, A.H. and Costain, C.H. 1973, AJ, 78, 1030